WATER SUPPLY LINE DIFFUSER SYSTEM INSTALLATIONS

- Calaveras Reservoir

- Water supply reservoir

- Located near San Jose, California

- Reservoir: 34,000 ac-ft; (11 billion gallons) at reduced pool

- Hydropower:  none

- Project Objective:  Reduce nutrient loading and taste and odor problems through oxygenation near the sediment layer, and in the metalimnion.  Create and maintain fish habitat for land locked steelhead trout.

- Customer:  San Francisco Public Utility Commission

- Prime Contractor: NCCI, San Francisco, CA

- Aeration System:  Line Diffuser

- - 11,000-gallon bulk liquid oxygen storage facility

- - Two 1,000-foot line diffusers spaced along the length of the reservoir

- - 67-scfm (4 tons per day) oxygen delivery capacity

- Diffuser installed by Mobley Engineering, Inc.: 2005

- Carvins Cove Reservoir

- Water supply reservoir

- Located near Roanoke, VA

- Reservoir: 19,600 ac-ft; (6.3 billion gallons)

- Hydropower:  none

- Project Objective:  Reduce nutrient loading and taste and odor problems through oxygenation near the sediment layer, and in the metalimnion.

- Customer:  Western Viginia Water Authority

- Aeration System:  Line Diffuser

- - 6,000-gallon bulk liquid oxygen storage facility

- - Two 2,000-foot line diffusers spaced along the length of the reservoir

- - 67-scfm (4 tons per day) oxygen delivery capacity

- Diffuser installed by Mobley Engineering, Inc.: 2005

- Upper San Leandro Reservoir

- Water supply reservoir

- Located near Oakland, California

- Reservoir: 30,000 ac-ft; (9.7 billion gallons) 592 acres

- Project Objective:  Reduce nutrient loading and taste and odor problems through oxygenation near the sediment layer, and in the metalimnion.

- Customer:  East Bay Municipal Utility District

- Prime Contractor: Manito Contruction, Pleasanton, CA

- Aeration System:  Line Diffuser

- - 6,000-gallon bulk liquid oxygen storage facility

- - Two 2,400-foot line diffusers spaced along the length of the reservoir

- - 140-scfm (9 tons per day) oxygen delivery capacity

- Diffuser installed by Mobley Engineering, Inc.: 2001

- Los Vaqueros Reservoir

- Water supply reservoir

- Located near Livermore, California

- Reservoir: 105,000 ac-ft;  (34.2 billion gallons) 1,450 acres

- Hydropower:  none

- Project Objective:  Reduce nutrient loading and tast and odor through oxygneation near the sediment layer.

- Customer:  Contra Costa Water District

- Prime Contractor: CDM Engineers and Constructors, Walnut Creek CA

- Aeration System:  Line Diffuser

- - 9,000-gallon bulk liquid oxygen storage facility

- - Two 4,000-foot line diffusers arranged along the length of the reservoir

- - 240-scfm (14 tons per day) oxygen delivery capacity

- Installed by Mobley Engineering, Inc.: 2000

- Spring Hollow Reservoir

- Water supply reservoir

- Located near Roanoke, Virginia

- Reservoir: 9,800 ac-ft; (3.2 billion gallons) 158 acres

- Hydropower:  none

- Project Objective:  Remove dissolved metals in reservoir through aeration and precipitation

- Customer:  County of Roanoke Utility District, Salem, VA

- Prime Contractor: Virginia Tech, Blacksburg, VA

- Aeration System:  Line Diffuser

- - 70 HP air compressor

- - A single 3,500-foot line diffusers arranged along the length of the reservoir

- - Diffuser equipped with shutoff valves at 1/3rd and 2/3rds length

- - 120 to 170-scfm air capacity

- Installed by TVA: 1997, Modified by Mobley Engineering 2005

Embalse de Pinilla

- Located near Madrid, Spain

- Reservoir:  38 hm3; 480 ha

- Hydropower:  one 5-MW hydroturbine unit

- Purpose for Aeration:  remove dissolved metals through aeration and precipitation in 	the reservoir to decrease the treatment required at a water supply facility

- Customer:  Ministerio de Obras Publicas, Transportes y Medio Ambiente

- Aeration System:  Line Diffusers

- - 20,000-liter temporary bulk liquid oxygen storage facility

- - Two line diffusers arranged in the forebay across old riverbed

- - Total of 670 meters of line diffuser deployed in reservoir

- - 28 scfm or 1,600-kg/day oxygen system capacity

- Installed:  1995 - Installation by Centro de Estudios Hidrograficos with TVA design

and onsite consultation.

Normandy Reservoir

- Located near Tullahoma, Tennessee

- Reservoir:  126,100 ac-ft; 3,160 acres

- Hydropower:  none

- Purpose for Aeration:  remove dissolved metals in reservoir through aeration and 	precipitation

- Customer:  TVA Reservoir Releases Task Force

- Aeration System:  Line Diffusers

- - Two 30-HP air compressor

- - Two 75-HP air compressors

- - 6 diffuser lines located in the forebay

- - Total of 16,500 feet of line diffuser deployed in reservoir

- - 250-scfm air system capacity

- Installed by TVA:  1994

- Additional line diffuser, 1995

- Additional line diffuser and compressors, 1996